**CHAIN OF CUSTODY**

Our Reference: COC01/2017/032

Client: **<company\_name>**

Sampling Date: April 13 & 14, 2017

Project: Chemical Exposure Monitoring

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sample Marking** | **Parameter** | **Analysis Technique** | | **Flow Rate (LPM)** |
| P1 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P2 | Toluene  NIOSH 1501 | Gas Chromatography, Fid | | 0.05 |
| P3 | Toluene  NIOSH 1501 | Gas Chromatography, Fid | | 0.05 |
| P4 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P5 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P6 | Toluene  NIOSH 1501 | Gas Chromatography, Fid | | 0.05 |
| P7 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P8 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P9 | Toluene  NIOSH 1501 | Gas Chromatography, Fid | | 0.05 |
| P10 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P11 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P12 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P13 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P14 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P15 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P16 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P17 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P18 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P19 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P20 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P21 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P22 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P23 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P24 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | 0.02 |
| P25 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| P26 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | 2.00 |
| A1 | Toluene  NIOSH 1501 | Gas Chromatography, Fid | | 0.05 |
| A2 | Toluene  NIOSH 1501 | Gas Chromatography, Fid | | 0.05 |
| B1 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | Blank Sample |
| B2 | Isopropyl Alcohol  NIOSH 1400 | Gas Chromatography, Fid | | Blank Sample |
| B3 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | Blank Sample |
| B4 | Lead  NIOSH 7081 | Atomic Absorption Spectrophotometer, Flame | | Blank Sample |
| B5 | Toluene  NIOSH 1501 | Gas Chromatography, Fid | | Blank Sample |
| B6 | Toluene  NIOSH 1501 | Gas Chromatography, Fid | | Blank Sample |
| Submitted by:  Name:  Date: | | | Received by:  Name:  Date:  Sample Condition: OK / Not OK | |